LABORATORY EQUIPMENT LIST

# 1. Consolidated Equipment Register

| Sr. | Equipment | Make | Model / Cat. No. | Serial / ID | Main Details | Qty |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Bacteriological Incubator | Shital Scientific Industries, Mumbai | Cat. No. 13 | 350511 | Chamber 14" × 14" × 14"; 240 V; 300 W; max. temp. 60 °C Online reference / image source: Product / image reference [Manufacturer listing (exact Cat. No. 13 page not located)] | 1 |
| 2 | Double-Beam UV-Vis Spectrophotometer with Software | BioEra Life Sciences Pvt. Ltd. | Model Elite; current official Cat. No. BE/CI/SP/DB-S-04 | V-12-11-008 | Existing unit: 220 V, 50 Hz, 50 W. Current official model: 190–1100 nm; 1 nm bandwidth; ±0.5 nm wavelength accuracy. Online reference / image source: Official product page [Manufacturer] | 1 |
| 3 | Laboratory Centrifuge | REMI | R-8C | Handwritten marking: DELC-4363 / CE-R8C / 4/11 (verify physically) | Existing record: 5250 rpm; 1.45 A; 220/230 V, 50 Hz. Official R-8C: max. 5250 rpm; max. capacity 300 mL. Online reference / image source: Official REMI product page [Manufacturer] | 1 |
| 4 | Analytical / Semi-Micro Balance | Denver Instrument, Germany | TB-215D | 25709850 | 60/210 g capacity; 0.01/0.1 mg readability; approx. 80 mm pan; internal calibration; RS-232. Online reference / image source: Exact-model image reference ¦ Specs / manual reference [Exact-model marketplace images + manufacturer-era manual/specification reference] | 1 |
| 5 | 3D Printer | Bambu Lab | X2D Combo | Serial not stated; Quotation SO277575 (19-Aug-2026) | Combo 3D printer. Quotation also includes 1.75 mm filament: PLA Basic Black, Jade White and Blue (reusable spools), plus ABS Blue refill. Filaments are treated as consumables, not separate equipment. Online reference / image source: Robu product / image page [Supplier named in quotation] | 1 |
| 6 | Analytical Balance | LabMart | 300 g × 0.001 g | Serial not stated; Order 405-8974422-4552366 (18-Aug-2026) | 300 g capacity; 0.001 g (1 mg) precision; glass draft shield; piece counting; tare function; calibration certificate; 200 g test weight; RS232 port. Online reference / image source: LabMart product / image page [Brand / supplier product page] | 1 |
| 7 | Aspheric Ophthalmic Lens Set | KASHURG | 78D + 90D + 20D | Serial not stated; Order 405-8003711-2673107 (07-Sep-2026) | Aspheric lens set comprising 78D, 90D and 20D lenses, supplied in a premium case. Online reference / image source: KASHURG product / image page [Retail product page matching the ordered lens set] | 1 |
| 8 | Silhouette Cutting Plotter | MY PRINT / Silhouette (as listed) | Portrait-4 | Serial not stated; Order 405-9390170-3191563 (18-Aug-2026) | Bluetooth wireless cutting plotter for craft/vinyl cutting; includes Silhouette Studio software (free software lifetime as stated in order). Online reference / image source: MY PRINT product / image page [Supplier product page] | 1 |
| 9 | Professional Hot-Melt Glue Gun | Crown Brand | CR 159 | Serial not stated; Order 408-9398722-1530766 (17-Aug-2026) | 150 W; silicone cover on nozzle for burn protection; temperature control; rapid heating; supplied with 5 glue sticks. Online reference / image source: Crown CR 159 product / image page [Indian product listing for model CR 159] | 1 |
| 10 | A3 Lamination Machine | Growlam | GL-12 | Serial not stated; Order 405-5519804-8745128 (18-Aug-2026) | A3 lamination machine; metal body; hot and cold temperature settings. Online reference / image source: Official Growlam product / image page [Manufacturer] | 1 |
| 11 | Benchtop Laboratory pH/mV Meter | Bionexis | BNPH002 | Serial not stated; Order 405-7965803-9389969 (18-Aug-2026) | 0.01 pH resolution; ±0.01 accuracy; research-grade benchtop instrument for biotech, pharma, healthcare and chemical testing. Online reference / image source: Official Bionexis product / image page [Manufacturer] | 1 |
| 12 | Soldering Iron Kit | Serplex | 12-in-1, 80 W LCD kit | Serial not stated; Order 405-1733437-9413168 (18-Aug-2026) | 80 W LCD adjustable-temperature soldering iron; 180–500 °C; ON/OFF switch; includes flux, 5 soldering tips, desoldering pump, stand and tweezers. Online reference / image source: Serplex product / image page [Retail product page matching the kit] | 1 |
| 13 | Professional Wax Heater | Hector | Single-pot model (model no. not stated) | Serial not stated; Order 405-5276167-4285160 (18-Aug-2026) | Professional single-pot wax heater with temperature control; listed for salon/home use. Online reference / image source: Official Hector product / image page [Brand / manufacturer product page] | 1 |

Note: Entries 5–13 were added from the attached quotation/order summaries. Where no equipment serial number was shown, the purchase quotation/order reference and date are recorded in the Serial / ID column. Shipping charges and 3D-printer filaments are not listed as separate equipment items. External product/image-reference links have now been added within the Main Details cells. For website publication, lab-owned photographs are preferred; external product images may require permission from the image owner.